## ADRC abstract day

Title: Towards Automated Cranial 4D Flow Analysis

Authors: Carson A. Hoffman, Grant S. Roberts*, Sara Berman, Laura Eisenmenger, Oliver Wieben

*Presenting Author

Category:

Biology/Physiology

Health and Social Services

Pharmacology

Neurosciences

Social and Behavioral Sciences

Social Policy

Care Research/Clinical Practices

Other

Background: Detailed, multi-segmental analysis of the brain has been hindered by the complex cranial vasculature and long post processing times. We have simplified our previously established post processing pipeline to allow for robust and repeatable analysis and provides users the ability to easily visualize and quantify complex cranial 4D flow datasets.

Methods: Ten cranial 4D flow MRI (PCVIPR) scans were acquired on healthy controls after patient consent and IRB approval. An interactive 4D flow processing tool was implemented in Matlab2018b that provides improved angiograms, centerline generation, vessel selection, automated background phase correction, visualization and computer memory requirements. A quantitative flow comparison was completed between the original and the extended in-house tools assessing vessel selection, repeatability, time, memory and precision of flow.

Results: The number of missed vessels reduced from 16.2% to 3.8%. The angiogram generation and centerline labeling times decreased from 48.6 sec to 13.2. The vessel selection and pulsatile flow verification times decreased from 15.2 min to 5.0 min (1.17 min and 0.38 min per plane), respectively. The average percent error in local flow quantification was 2.8±2.6% for the old tool and 2.9±2.2% for the new tool.

Conclusion: The extended 4D Flow analysis tool provided angiograms and centerlines with improved vessel visibility and selection capabilities for short and small vessel sections. We have successfully added additional post processing functionality and visualization while reducing the time needed for completing a multi-vessel cranial analysis.

Keywords: 4D flow; segmentation; cerebrovascular; blood flow; pulsatility